| List of standard project AOF_114 m2 |  |  |  |
| --- | --- | --- | --- |
|  | Name of Units Quantity | Units | Quantity |
| 1 | Foundations (foundation plate) |  |  |
|  | Materials: |  |  |
| 1.1. | Sewage pipe f-110 mm | m | 12 |
| 1.2. | F-110 tee | Pieces | 5 |
| 1.3. | Revision of F-110 | Pieces | 2 |
| 1.4. | Reduction 110x50 | Pieces | 3 |
| 1.5. | Knee 110-90 | Pieces | 3 |
| 1.6. | F-50 pipe | М.пог. | 18 |
| 1.7. | F-50 tee | Pieces | 5 |
| 1.8. | Knee f-50 90 | Pieces | 5 |
| 1.9. | Pipe PP f-25 | m.run | 16 |
| 1.10. | Pipe PP-20 | m.run | 12 |
| 1.11. | PP pipe fittings | Pieces | 50 |
| 1.12. | Foam glue | Balloon | 5 |
| 1.13. | Various hardware (nails, self-tapping screws...) | kg | 6 |
| 2 | Roof protection: - laying protective lining carpet, laying bitumen tiles, end, eaves, ridge strips | Units | Quantity |
|  | Materials: |  |  |
| 2.1. | Aguaizol underlay carpet | m2 | 105 |
| 2.2. | MATIZOL bituminous tiles from Poland | m2 | 105 |
| 2.3. | BC Aureol primer - 1 P-32 20 l | L | 20 |
| 2.4. | Dropper - 2 m | m | 24 |
| 2.5. | End bar - 2 m | m | 20 |
| 2.6. | Ridge plank - 2 m | m | 12 |
| 2.7. | Front bar 200 mm - 2 m | m | 24 |
| 3 | Facade protection: 50 mm insulation, insulation reinforcement, decorative acrylic plaster | Units | Quantity |
|  | Materials: |  |  |
| 3.1. | Styrofoam 50 mm graphite | m2 | 158,00 |
| 3.2. | Profile SD -60 3m | m | 34,00 |
| 3.3. | Foam glue Lakrysil 800 pro | Balloon | 30,00 |
| 3.4. | Foam wash | Balloon | 5 |
| 3.5. | Pressing plate (pan) for thermal insulation 60x100 pcs | package | 8 |
| 3.6. | Self-tapping screw 75x4 | Pieces | 1000 |
| 3.7. | Mesh for reinforcement 160/gr.m2 | m2 | 160 |
| 3.8. | Polymin P-18 reinforcement glue 25 kg | package | 22 |
| 3.9. | Corner with a grid | Pieces | 32 |
| 3.10. | Primer paint | kg | 40 |
| 3.11. | Decorative plaster Baranets 1.5 mm | kg | 500 |
| 3.12. | Color to choose |  |  |
| 3.13. | Extruded polystyrene Ecoboard/Penoboard 1200x550x20 mm | Pieces | 16 |
| 3.14. | Window connection profile | Pieces | 22 |

| 4 | Interior decoration | Units | Quantity |
| --- | --- | --- | --- |
|  | Materials: |  |  |
|  | Walls, ceiling and floor |  |  |
| 4.1 | Wall plasterboard 12.5 mm | m2 | 310,0 |
| 4.2 | Plasterboard ceiling 9.5 mm | m2 | 120,0 |
| 4.3 | Drywall is moisture resistant | m2 | 42,0 |
| 4.4 | Self-tapping screw for GKL 3x25 | Pieces | 6000 |
| 4.5 | Serpianka net 50x90m | Pieces | 7 |
| 4.6 | Putty for seams "FUGENFULLER" 25 kg | Pieces | 3 |
| 4.7 | Putty ACRYL-PUTZ 2 in 1 20 kg | Pieces | 24 |
| 4.8 | Profile UD-27 4m | Pieces | 10 |
| 4.9 | Profile SD-60 3m | Pieces | 10 |
| 5.0 | Corner connector for SD-60 | Pieces | 40 |
| 5.1 | Perforated corner 3m | Pieces | 40 |
| 5.2 | Window profile with 6 mm x 2.4 m grid | Pieces | 20 |
| 5.3 | Primer 10 l | Pieces | 2 |
|  | Floor |  |  |
| 5.4 | Magnesite plate 1200x600x8mm (0.72 m2) | Pieces | 40 |
| 5.5 | Mounting acrylic glue "Mad Velcro" white color LACRYSIL ... | kg | 20,0 |
| 5.6 | Wood self-tapping screw for plasterboard 3.5x35 mm 250 pcs | Pieces | 3 |
| 5.7 | Self-tapping screw with metal drill for plasterboard 3.5x9.5 mm 100 pcs Expert Fix | Pieces | 1 |
|  | Floor covering - tile, laminate, linoleum, etc.??? |  |  |
|  | Electricity |  |  |
| 5.8 | Cable SHVVP 2x2.5 | m | 110,0 |
| 5.9 | Cable SHVVP 2x1.5 | m | 150,0 |
| 6.0 | Cable SHVVP 3x2.5 | m | 60,0 |
| 6.1 | Distribution box E.NEXT 100x100x45 IP20 s027026 |  |  |
| 6.2 | Installation box for plasterboard/hollow walls 65x45 mm |  |  |
| 6.3 | Simet LTF 12-2.5 terminal block | Pieces | 2 |
| 6.4 | EMT cable coil 6.5 mm 25 pcs. gray | Pieces | 5 |
| 6.5 | Cable coil EMT 9.5 mm 25 pcs. | Pieces | 5 |
| 6.6 | Shield plastic Luxray SHRN-P-12 for 12 external modules | Pieces | 1 |
| 6.7 | Connecting bus E.NEXT (e.bc.stand.1.12.63) 1 p 63 A 12 modules | Pieces | 1 |
| 6.8 | Zero bus on DIN rail E.NEXT (e.bsi.pro.1.12) in an insulated case | Pieces | 1 |
| 6.9 | Voltage relay DigiTOP VA-32A with current control | Pieces | 1 |
| 7.0 | Automatic switch E.NEXT e.mcb.stand.45.1.C25, 1p, C, 25A, | Pieces | 2 |
| 7.1 | Automatic switch E.NEXT e.mcb.stand.45.1.C16, 1p, C, 16A, | Pieces | 4 |
| 7.2 | Automatic switch E.NEXT e.mcb.stand.45.1.C10, 1p, C, 10A, | Pieces | 2 |
| 7.3 | Lezard Viola double earthed outlet without curtains | Pieces | 30 |
| 7.4 | Lezard Viola one-key switch | Pieces | 16 |
| 7.5 | Lezard Viola two-key switch | Pieces | 5 |
| 7.6 | Izostrichka UP! (Underprice) 0.13x15 mm 10 m set of 5 pcs/pack | Pieces | 2 |
|  | Plumbing, water distribution |  |  |
| 8.3 | Polypropylene pipe AlcaPipe PPRCT grn UNI S4 SDR9 20x2.3 4m | Pieces | 18 |
| 8.4 | Polypropylene pipe AlcaPipe PPRCT grn UNI S4 SDR9 25x2.8 4m-2 | Pieces | 2 |
| 8.5 | Corner Water House connecting 90 D 20 | Pieces | 30 |
| 8.6 | Tee UP! (Underprice) PPR 20x20x20 mm | Pieces | 12 |
| 8.7 | Adapter coupling FADO S.r.l 20x1/2'' PPM21 | Pieces | 6 |
| 8.8 | Connecting coupling UP! (Underprice) PPR d20 mm | Pieces | 6 |
| 8.9 | American internal ASG 20x1/2" | Pieces | 2 |
| 9.0 | Threaded coupling FADO S.r.l 20x1/2'' PPG01 | Pieces | 4 |
| 9.1 | Ball valve FADO S.r.l 25 PP PKG21 | Pieces | 2 |
| 9.2 | Internal mounting bar UP! (Underprice) 20x1/2 | Pieces | 2 |
| 9.3 | Reduction clutch UP! (Underprice) PPR 25x20x25 | Pieces | 4 |
| 9.4 | Corner faucet Water House 101B 1/2x1/2'' | Pieces | 11 |
| 9.5 | Adapter coupling FADO S.r.l 20x1/2'' PPM11 | Pieces | 11 |
| 9.6 | Ball valve STA Du 25 VZ (r.) nickel | Pieces | 2 |
| 9.7 | Tee UP! (Underprice) PPR 25x25x25 mm | Pieces | 2 |
| 9.8 | Combined external coupling UP! (Underprice) PPR 25x3/4" external thread | Pieces | 3 |
| 9.9 | Clutch FADO S.r.l BP 25x3/4 PP PPM14 | Pieces | 2 |
| 10.0 | Water House 20 prop | Pieces | 40 |
| 10.1 | Water House 25 support | Pieces | 10 |
| 10.2 | Set of gaskets Gusak 1/2" 10 pcs. | Pieces | 2 |
| 10.3 | Plumbing tow 50 g | Pieces | 1 |
| 10.4 | Paste for packaging GEBATOUT 2 25 g | Pieces | 1 |
|  | Tools | Units | Quantity |
| 11.1 | Screwdriver battery Stanley FatMax SFMCD700C2K | Pieces | 2 |
| 11.2 | Polisher (angle grinder) Bosch Professional GWS 750 S 0601394121 | Pieces | 1 |
| 11.3 | Electric jigsaw Stanley FatMax FatMax FME340K 1 | Pieces | 1 |
| 11.4 | Circular saw Zenit ZPC-235/2300 Professional 8509831 1 | Pieces | 1 |
| 11.5 | Compressor Sturm oil-free AC93224OL | Pieces | 1 |
| 11.6 | Stapler pneumatic Intertool PT-1612 combined for staples and nails | Pieces | 1 |
| 11.7 | Set of air tools FORTE AT KIT-5S 32137 1 | Pieces | 1 |
| 11.8 | Electric generator set Compass 5 kW / 5.5 kW C5500E gasoline 1 | Pieces | 1 |
| 11.9 | Wood saw 450 mm YATO YT-31097 - 1 pc = 470.00 | Pieces | 1 |
| 11.10 | BauGut Meister 3T 3x7 universal 3-section ladder | Pieces | 1 |
| 11.11 | Step ladder Elkop DHR 403 double-sided 2x3 | Pieces | 2 |
| 11.12 | Stark hand tool set in nylon bag 14 pcs. | Pieces | 1 |
| 11.13 | Kraft&Dele KD998 tool set in a case of 300 pcs | Pieces | 1 |
| 11.14 | Soldering iron for plastic pipes Vorskla PMZ 1.8/6 | Pieces | 1 |
| 11.15 | Wrench American Type 200 mm C45 MasterTool HRC | Pieces | 2 |
| 11.16 | Swanson 300 mm carpentry conveyor belt (swv300) | Pieces | 1 |
| 11.17 | Laser level Hilda 4D 16 lines | Pieces | 1 |
| 11.18 | Makita impact drill with accessories M8103KX2 | Pieces | 1 |
| 11.19 | Universal tool set 10 in 1 with attachments on battery | Pieces | 1 |